Application Completeness

☐ Yes	Applicant Name, Address, and phone number

☐ Yes	24-hour Emergency contact name and phone number

☐ Yes	All addresses, parcels, and intersections to be impacted

☐ Yes	Franchised Utility documentation with Proper Primary Contact Identified

Plan Content

General Requirements

☐ Yes		Gahanna General Notes & Specifications included in plan set

☐ Yes  ☐ N/A 	Plan Scale(s): Plans shall be legible at half size (11”x17”) production

☐ Yes  ☐ N/A 	Legend and all applicable Plan Keys provided

Title Sheet

☐ Yes  ☐ N/A 	An area location map with the area of work highlighted

☐ Yes  ☐ N/A 	Date of Plan Completion and revision number if applicable

☐ Yes  ☐ N/A 	Name and registration number of design professional of record

Construction Sheets

☐ Yes  ☐ N/A 	Proposed alignment, including all facilities and equipment for operation and construction shown to scale (i.e. poles, bore pits, pedestals, handholes, guy wire & anchors)

☐ Yes  ☐ N/A 	Construction limits indicated including laydown, staging of material and equipment

☐ Yes  ☐ N/A 	Station proposed alignment every 50'

☐ Yes  ☐ N/A 	Dimension of proposed alignment to ROW limit or roadway centerline

☐ Yes  ☐ N/A 	Trench data includes length, width and depth dimensions

☐ Yes  ☐ N/A 	Construction details for work performed in the Right-of-Way limits

Identification of Utility Lines:

☐ Yes  ☐ N/A 	Water

☐ Yes  ☐ N/A 	Sanitary

☐ Yes  ☐ N/A 	Storm

☐ Yes  ☐ N/A 	Gas

☐ Yes  ☐ N/A 	Electric			☐ Yes  ☐ N/A 	Above or Below Ground Identified

☐ Yes  ☐ N/A 	Communications	☐ Yes  ☐ N/A 	Above or Below Ground Identified

☐ Yes  ☐ N/A 	Identify and Profile all public utility crossings

☐ Yes  ☐ N/A 	Public utility crossings noted as “Expose & Verify”

☐ Yes  ☐ N/A 	Utility clearances labeled (see below for clearance requirements)

☐ Yes  ☐ N/A 	Property lines, parcel numbers, lots, and addresses identified

☐ Yes  ☐ N/A 	Utility easements identified and labeled

☐ Yes  ☐ N/A 	Drainage paths are indicated and passage of water is not obstructed

☐ Yes  ☐ N/A 	Public transit stops identified

☐ Yes  ☐ N/A 	Edge of pavement and existing pavement markings identified

Identification of the following items:

☐ Yes  ☐ N/A 	Right-of-Way limits

☐ Yes  ☐ N/A 	Curb

☐ Yes  ☐ N/A 	Drainage

☐ Yes  ☐ N/A 	Trees and Vegetation (actual size)

☐ Yes  ☐ N/A 	Lighting

☐ Yes  ☐ N/A 	Traffic Signage and Signals

☐ Yes  ☐ N/A 	Fences

☐ Yes  ☐ N/A 	Mailboxes

☐ Yes  ☐ N/A 	Driveways

☐ Yes  ☐ N/A 	Sidewalks and Trails

☐ Yes  ☐ N/A 	Any other appurtenances along the proposed installation route

Additional Submittal Requirements

☐ Yes  ☐ N/A    Maintenance of Traffic plans (see below for MOT requirements)

☐ Yes  ☐ N/A    CAD/DWG/DXF and/or GIS Geodatabase/shapefiles provided

☐ Yes  ☐ N/A 	   Preliminary Schedule including construction start and end dates and daily hours of work

☐ Yes  ☐ N/A 	Construction cost to determine Bonding and Restoration withholding fees

☐ Yes  ☐ N/A    Completed Plan Submission Checklist

☐ Yes  ☐ N/A 	Phasing Plan if project is to be phased

☐ Yes  ☐ N/A 	Payment for Plan Review and any outstanding fees owed to the City

Conduit & Equipment Clearance Requirements

- 18" vertical clearance from outside diameter of all public utilities.

- 3' horizontal clearance from outside diameter of all public utilities.

- 8' clearance from nearest edge of the facility to outside diameter of any water line 'tee' connection, bends, bands, and ends of water lines

- 18" from back of curb

- 4' from driveway pavement

- Minimum 30" under pavement

Maintenance of Traffic Plans

☐ Yes  ☐ N/A 	Reviewed and sealed by a licensed registered Design Professional

☐ Yes  ☐ N/A 	Aerial view showing location of closure including beginning, end, length, and width

☐ Yes  ☐ N/A 	Anticipated duration of specific closure (i.e. number of days or hours to be closed)

☐ Yes  ☐ N/A    All applicable MUTCD typical applications included

☐ Yes  ☐ N/A 	Site specific MOT provided for intersections and other locations where applicable

☐ Yes  ☐ N/A 	Vehicle access maintained to all properties

☐ Yes  ☐ N/A 	ADA & pedestrian access maintained - specific detours and placement of detour signage

☐ Yes  ☐ N/A 	Safety buffers can be maintained

☐ Yes  ☐ N/A 	Proposed construction limits for installation of equipment have been accounted for

☐ Yes  ☐ N/A 	LEO's provided at all major or signaled intersection locations and as deemed necessary by the Director of Engineering, Director of Public Safety, or designees

This form has been completed by:

Name: Click or tap here to enter text.

Company: Click or tap here to enter text.		Signature:

Date: Click or tap to enter a date.